## 1.Home
Welcome to Your ECM Calculator
Simple Levelised Cost of Electricity (LCOE) for Solar Photovoltaic (PV) Power
Last Modified by User: |  |  | 2013-01-29
For the most recent version of this ECM, and links to other useful analysis tools, please click here to go to http://www.appropedia.org/Category:Queens_Green_IT_ECMs
This template last modified on: |  |  | 2012-01-29
This spreadsheet consists of six sheets, or tabs, including this Home sheet. The Intro sheet provides an overview of the ECM and an example. On the Input sheet, enter the best estimates for your business in the orange cells (and change default purple cells if required). A summary of your costs and benefits based on the values entered in the Input sheet are provided on the Executive Summary sheet. The detailed economic and environmental analyses behind the executive summary results appear on the Savings Projection sheet, which shows financial and environmental metrics. Assumptions underlying the calculations and explanations of the defaults (such as electricity costs and emissions) are found on the Assumptions & Sources sheet, and may need to be adjusted for your organization. The ECM calculator has been designed primarily for electronic use, but can be printed if necessary. Printing defaults have been setup such that all pages will fit on standard Letter or A4 paper and will rotate (landscape vs. portrait) automatically as necessary.
| Legend | Headings |  | green
|  | Input Cells |  | orange
|  | Default Values |  | purple
|  | Summary Charts |  | blue
Disclaimer:
This analysis is conducted based on carefully considered assumptions and calculations in anticipation of use by an audience with the widest possible selection of applications. As such, various assumptions may not be applicable to your particular organization, and you are encouraged to read them carefully. To use this tool effectively, detailed instructions are included on the Introduction tab.
In this ECM, we calculate straightforward financial and environmental benefits. Depending on the ECM, your organization may enjoy additional financial benefits not included here such as those from government rebates and incentives, and those arising from lower operating costs, such as reduced waste or water usage. This ECM may also relate to your organization’s corporate social responsibility initiatives. Again, depending on the ECM, this increased goodwill may result from donations of your used equipment to not-for-profit organizations, the reduction of toxic materials, and so on. We encourage you to consider these additional benefits when making the case for your proposed ECMs.
The information provided here is for informational purposes only. By no means is any information presented herein intended to substitute for the advice which may be provided to you by a professional. We make no warranties of any kind, express or implied, about the completeness, accuracy, or reliability of the data or calculations. For this reason, Queen's University and/or participants of the "Green IT" Project cannot be held responsible for any mistakes or deficiencies in the data or calculations.
Please click here to view the complete list of Assumptions.
Continue with your analysis by proceeding to the Instructions.

## 2.Introduction
ECM032 - Solar PV LCOE | Please review disclaimer on the home tab |  |  |  |  | This template last modified on: |  |  | 2013-01-29
Solar Photovoltaic Levelised Cost of Electricity
A useful tool in comparing the true total cost to generating electricity from different sources, the levelised cost of electricity (LCOE) totals all of the costs to generate electricity by that method -- initial capital, maintenance and operating expenses, fuel, etc. -- and determines the lowest cost a unit of energy can be sold for while ensuring that source remains financially self-sustaining. This value is reported as "cost per unit of energy", such as $CAD/kWh, EUR/MWh, etc.
A comprehensive paper has been written exploring the theory behind the LCOE as it relates to electricity generated through PV technologies. For a link to this complete report, please visit the Assumptions and Sources page by clicking here.
In this analysis, you are prompted to enter some specific information about the solar photovoltaic (PV) installation you are investigating including the size of the system, some data related to an estimate of your potential generating capacity, and your expectations on warranty/replacement/maintenance costs associated with your system. Given the significant capital accompanying many of these large-scale projects, you are also prompted for the specifications of your financing for this project. Your interest rate is used in calculations of different loan periods to recommend a loan term to provide the lowest LCOE for your system.
Example
This simplified table of input values represents a 'sample' PV installation. The size, performance, and details of your system may be quite different so be sure to carry our your own analysis later. This case is meant to serve simply as an illustration of the analysis. |  |  | Variable | [5 empty] | Value
System Specifications
|  |  | Rated size of solar PV system (kW) | [5 empty] | 2
|  |  | Average Annual Sun hours per day (based on location) | [5 empty] | 5
|  |  | Capacity Factor (based on location - default is Kingston, ON) | [5 empty] | 0.20833
|  |  | Inverter replacement period (years) | [5 empty] | 10
|  |  | PV System Warranty | [5 empty] | 30
|  |  | Solar PV system degradation rate per year | [5 empty] | 0.5%
Associated Costs
|  |  | Cost per Watt of System installed ($) | [5 empty] | 6.5
|  |  | Total installed cost | [5 empty] | 13000
|  |  | Insurance (default is 1% of installed cost) | [5 empty] | 130
|  |  | Inverter cost (default is 9% of installed cost) | [5 empty] | 1170
|  |  | Other Annual Operation Cost | [5 empty] | 0
|  |  | Other Annual Maintenance Cost | [5 empty] | 0
Financing
|  |  | Annual discount rate for present-value calculations | [5 empty] | 3%
|  |  | Interest rate for loan | [5 empty] | 2%
|  |  | Down payment (initial capitol) | [5 empty] | 2600
|  |  | Custom loan term | [5 empty] | 13
Based on these inputs, calculations for LCOE are completed for the user-specified loan term (13 years), as well as the default loan terms of 5, 10, 15, 20, 25, 30, 35 and 40 years. The LCOE of these nine options is then plotted, and the 40 year term emerges as the best LCOE.
Also calculated is the total present value cost of the project, including the initial capital and operating expenses for a 40 year period. The 40-year option again emerges as the lowest total PV cost option.
This total PV cost data is presented in chart-form as well, where the premium for each loan term is presented.
Loan term (Years) --> | 13 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40
Total project cost over 40 years (current dollars): | 17876.555 | 18082.2847 | 17951.3551 | 17828.2138 | 17712.5592 | 17604.0887 | 17502.4994 | 17407.4891 | 17318.7568
Percentage premium over lowest-cost scenario | 3.221% | 4.409% | 3.653% | 2.942% | 2.274% | 1.648% | 1.061% | 0.5123% | 0%
All three calculations support the 40-year loan term as the lowest LCOE option. The premiums demanded by the other terms are also laid out clearly such that an informed decision can be made.

## 3.Inputs
ECM032 - Solar PV LCOE |  | Please review disclaimer on the Home tab | This template last modified on: |  | 2013-01-29
Inputs
| Legend | Input Cells | orange
|  | Default Values | purple
Assumptions & Sources | Variable |  |  | Symbol/ Calculation | Value
System Specifications
| Rated size of solar system (kW) |  |  | A | 2
assump_2 | Average Annual Sun hours per day (based on location) |  |  | B | 5
| Capacity Factor (based on location - default is Kingston, ON) - Calculated automatically |  |  | C=B/24 | 0.20833
assump_3 | Inverter replacement period (years) |  |  | D | 10
assump_4 | PV System Warranty |  |  | E | 30
assump_5 | Solar PV system degradation rate per year |  |  | F | 0.5%
assump_6 | Energy Output (Rated) kWh per year - Calculated automatically |  |  | G=C*365*24*A | 3650
Associated Costs
assump_7 | Cost per Watt of System installed ($/W) |  |  | H | 6.5
| Total installed cost |  |  | I=H*A*1000 | 13000
assump_8 | Insurance (default is 1% of installed cost) - See Assumptions & References for input |  |  | J=0.01*I | 130
| Inverter cost (default is 9% of installed cost) - See Assumptions & References for input |  |  | K=0.09*I | 1170
| Other Annual Operation Cost |  |  | L | 0
| Other Annual Maintenance Cost |  |  | M | 0
Financing
assump_9 | Annual discount rate for present-value calculations |  |  | N | 3%
assump_10 | Interest rate for loan |  |  | O | 2.4%
| Down payment (initial capital) |  |  | Q | 2600
assump_11 | Custom loan term (years) |  |  | R | 13

## 4.Executive Summary
ECM032 - Solar PV LCOE | Please review disclaimer on the Home tab. |  |  |  |  | This template last modified on: |  |  | 2013-01-29
Executive Summary
The interest paid on money financed for the PV project is the most significant variable in determining the project's LCOE. In this project, a custom term of 13 years was selected. The LCOE for this custom term is compared with the default loan terms calculated at 5-year increments from 5 to 40 year loans.
| Legend |  | Your Custom Loan Term:
Default 5-year increment terms:
Lowest LCOE Case
Loan term (Years) --> | 13 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40
LCOE ($CAD/KWh): | 0.21966 | 0.22219 | 0.22058 | 0.21906 | 0.21764 | 0.21631 | 0.21506 | 0.21389 | 0.2128
Loan term (Years) --> | 13 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40
Total project cost over 40 years (current dollars): | 17876.555 | 18082.2847 | 17951.3551 | 17828.2138 | 17712.5592 | 17604.0887 | 17502.4994 | 17407.4891 | 17318.7568
Percentage premium over lowest-cost scenario | 3.221% | 4.409% | 3.653% | 2.942% | 2.274% | 1.648% | 1.061% | 0.5123% | 0%
| Years | Custom loan term cost
| 5 | 17876.555
| 10 | 17876.555
| 15 | 17876.555
| 20 | 17876.555
| 25 | 17876.555
| 30 | 17876.555
| 35 | 17876.555
| 40 | 17876.555
Therefore, the LCOE of your PV installation is $0.22 based on a 13 year loan on $10,400. The LCOE could be reduced to $0.213 by modifying the term of your loan to 40 years, resulting in the lowest possible LCOE for your PV system.

## 5.Projected Savings
ECM032 - Solar PV LCOE | [26 empty] | This template last modified on: |  |  | 2013-01-29
Projected Savings
Loan term (Years): | Custom Loan Term (13 years) | 5-Year Term | 10-Year Term | 15-Year Term | 20-Year Term | 25-Year Term | 30-Year Term | 35-Year Term | 40-Year Term
Annual loan payment (principal and interest): | 932.0724 | 2209.3722 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087
LCOE ($CAD/KWh): | 0.21966 | 0.22219 | 0.22058 | 0.21906 | 0.21764 | 0.21631 | 0.21506 | 0.21389 | 0.2128
Total project cost over 40 years (current dollars): | 24596.9409 | 23526.8611 | 24188.219 | 24874.3632 | 25585.1168 | 26320.2344 | 27079.4048 | 27862.254 | 28668.3491
Percentage premium over lowest-cost scenario | 104.5% | 100% | 102.8% | 105.7% | 108.7% | 111.9% | 115.1% | 118.4% | 121.9%
Total project cost over 40 years (PV): | 17876.555 | 18082.2847 | 17951.3551 | 17828.2138 | 17712.5592 | 17604.0887 | 17502.4994 | 17407.4891 | 17318.7568
Percentage premium over lowest-cost PV scenario | 103.2% | 104.4% | 103.7% | 102.9% | 102.3% | 101.6% | 101.1% | 100.5% | 100%
LCOE Calculation -- Custom Loan Term of 13 years
Assumptions & References | Assump_12 | [29 empty] | assump_1
Year | Finance Cost | [8 empty] | Annual Maintenance Cost | Annual Operating Cost | Total Annual Cost | [8 empty] | Annual Present Value Cost | [8 empty] | Annual Energy Output (KWh) | "NPV" Energy
| Custom Loan Term (13 years) | 5-Year Term | 10-Year Term | 15-Year Term | 20-Year Term | 25-Year Term | 30-Year Term | 35-Year Term | 40-Year Term |  |  | Custom Loan Term (13 years) | 5-Year Term | 10-Year Term | 15-Year Term | 20-Year Term | 25-Year Term | 30-Year Term | 35-Year Term | 40-Year Term | Custom Loan Term (13 years) | 5-Year Term | 10-Year Term | 15-Year Term | 20-Year Term | 25-Year Term | 30-Year Term | 35-Year Term | 40-Year Term
0 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 0 | 0 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 2600 | 3650 | 3650
1 | 932.0724 | 2209.3722 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 2339.3722 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 1031.1382 | 2271.2352 | 1262.9339 | 928.4377 | 762.3843 | 663.6984 | 598.6862 | 552.9058 | 519.1347 | 3631.75 | 3525.9709
2 | 932.0724 | 2209.3722 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 2339.3722 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 1001.1051 | 2205.0827 | 1226.1494 | 901.3959 | 740.1789 | 644.3674 | 581.2488 | 536.8017 | 504.0143 | 3613.5912 | 3406.1563
3 | 932.0724 | 2209.3722 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 2339.3722 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 971.9467 | 2140.857 | 1190.4363 | 875.1416 | 718.6203 | 625.5994 | 564.3192 | 521.1667 | 489.3342 | 3595.5233 | 3290.4132
4 | 932.0724 | 2209.3722 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 2339.3722 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 943.6376 | 2078.5019 | 1155.7634 | 849.6521 | 697.6896 | 607.3781 | 547.8827 | 505.9871 | 475.0818 | 3577.5457 | 3178.603
5 | 932.0724 | 2209.3722 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 2339.3722 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 916.153 | 2017.963 | 1122.1004 | 824.9049 | 677.3686 | 589.6875 | 531.925 | 491.2496 | 461.2444 | 3559.6579 | 3070.5922
6 | 932.0724 | 0 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 130 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 889.4689 | 108.873 | 1089.4179 | 800.8786 | 657.6394 | 572.5121 | 516.432 | 476.9414 | 447.8101 | 3541.8597 | 2966.2517
7 | 932.0724 | 0 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 130 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 863.562 | 105.7019 | 1057.6872 | 777.552 | 638.4849 | 555.837 | 501.3903 | 463.0499 | 434.7671 | 3524.1504 | 2865.4567
8 | 932.0724 | 0 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 130 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 838.4097 | 102.6232 | 1026.8808 | 754.9049 | 619.8882 | 539.6476 | 486.7867 | 449.563 | 422.104 | 3506.5296 | 2768.0869
9 | 932.0724 | 0 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 130 | 1300.8219 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 813.99 | 99.6342 | 996.9717 | 732.9173 | 601.8332 | 523.9297 | 472.6084 | 436.4689 | 409.8097 | 3488.997 | 2674.0257
10 | 932.0724 | 0 | 1170.8219 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 1170 | 130 | 2232.0724 | 1300 | 2470.8219 | 2126.2909 | 1955.2558 | 1853.6094 | 1786.6468 | 1739.493 | 1704.7087 | 1660.8715 | 967.3221 | 1838.5235 | 1582.1601 | 1454.894 | 1379.2595 | 1329.433 | 1294.3461 | 1268.4634 | 3471.552 | 2583.1607
11 | 932.0724 | 0 | 0 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 130 | 130 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 767.2637 | 93.9148 | 93.9148 | 690.8449 | 567.2855 | 493.854 | 445.4788 | 411.4138 | 386.285 | 3454.1942 | 2495.3834
12 | 932.0724 | 0 | 0 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 130 | 130 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 744.9162 | 91.1794 | 91.1794 | 670.7232 | 550.7626 | 479.4699 | 432.5037 | 399.4309 | 375.0339 | 3436.9232 | 2410.5888
13 | 932.0724 | 0 | 0 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 1062.0724 | 130 | 130 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 723.2196 | 88.5237 | 88.5237 | 651.1876 | 534.721 | 465.5047 | 419.9065 | 387.797 | 364.1106 | 3419.7386 | 2328.6756
14 | 0 | 0 | 0 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 85.9453 | 85.9453 | 85.9453 | 632.2209 | 519.1466 | 451.9463 | 407.6762 | 376.5019 | 353.5055 | 3402.6399 | 2249.5458
15 | 0 | 0 | 0 | 826.2909 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 956.2909 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 83.4421 | 83.4421 | 83.4421 | 613.8067 | 504.0258 | 438.7828 | 395.8021 | 365.5359 | 343.2092 | 3385.6267 | 2173.105
16 | 0 | 0 | 0 | 0 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 81.0117 | 81.0117 | 81.0117 | 81.0117 | 489.3455 | 426.0028 | 384.2739 | 354.8892 | 333.2128 | 3368.6986 | 2099.2616
17 | 0 | 0 | 0 | 0 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 78.6521 | 78.6521 | 78.6521 | 78.6521 | 475.0927 | 413.5949 | 373.0815 | 344.5526 | 323.5076 | 3351.8551 | 2027.9275
18 | 0 | 0 | 0 | 0 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 76.3613 | 76.3613 | 76.3613 | 76.3613 | 461.255 | 401.5485 | 362.215 | 334.5171 | 314.085 | 3335.0958 | 1959.0173
19 | 0 | 0 | 0 | 0 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 785.2558 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 74.1372 | 74.1372 | 74.1372 | 74.1372 | 447.8204 | 389.8529 | 351.6651 | 324.7739 | 304.9369 | 3318.4204 | 1892.4488
20 | 0 | 0 | 0 | 0 | 655.2558 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 1170 | 130 | 1300 | 1300 | 1300 | 1300 | 1955.2558 | 1853.6094 | 1786.6468 | 1739.493 | 1704.7087 | 719.7785 | 719.7785 | 719.7785 | 719.7785 | 1082.5778 | 1026.2986 | 989.223 | 963.1151 | 943.8559 | 3301.8283 | 1828.1422
21 | 0 | 0 | 0 | 0 | 0 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 69.8814 | 69.8814 | 69.8814 | 69.8814 | 69.8814 | 367.4737 | 331.4781 | 306.1305 | 287.4323 | 3285.3191 | 1766.0209
22 | 0 | 0 | 0 | 0 | 0 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 67.846 | 67.846 | 67.846 | 67.846 | 67.846 | 356.7706 | 321.8234 | 297.2141 | 279.0605 | 3268.8925 | 1706.0105
23 | 0 | 0 | 0 | 0 | 0 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 65.8699 | 65.8699 | 65.8699 | 65.8699 | 65.8699 | 346.3792 | 312.4499 | 288.5574 | 270.9325 | 3252.5481 | 1648.0393
24 | 0 | 0 | 0 | 0 | 0 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 63.9514 | 63.9514 | 63.9514 | 63.9514 | 63.9514 | 336.2905 | 303.3494 | 280.1528 | 263.0413 | 3236.2853 | 1592.0379
25 | 0 | 0 | 0 | 0 | 0 | 553.6094 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 683.6094 | 616.6468 | 569.493 | 534.7087 | 62.0887 | 62.0887 | 62.0887 | 62.0887 | 62.0887 | 326.4956 | 294.514 | 271.993 | 255.3799 | 3220.1039 | 1537.9395
26 | 0 | 0 | 0 | 0 | 0 | 0 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 616.6468 | 569.493 | 534.7087 | 60.2803 | 60.2803 | 60.2803 | 60.2803 | 60.2803 | 60.2803 | 285.9359 | 264.0709 | 247.9416 | 3204.0034 | 1485.6795
27 | 0 | 0 | 0 | 0 | 0 | 0 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 616.6468 | 569.493 | 534.7087 | 58.5246 | 58.5246 | 58.5246 | 58.5246 | 58.5246 | 58.5246 | 277.6077 | 256.3795 | 240.72 | 3187.9834 | 1435.1952
28 | 0 | 0 | 0 | 0 | 0 | 0 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 616.6468 | 569.493 | 534.7087 | 56.82 | 56.82 | 56.82 | 56.82 | 56.82 | 56.82 | 269.522 | 248.9121 | 233.7088 | 3172.0434 | 1386.4264
29 | 0 | 0 | 0 | 0 | 0 | 0 | 486.6468 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 616.6468 | 569.493 | 534.7087 | 55.165 | 55.165 | 55.165 | 55.165 | 55.165 | 55.165 | 261.6718 | 241.6623 | 226.9017 | 3156.1832 | 1339.3149
30 | 0 | 0 | 0 | 0 | 0 | 0 | 486.6468 | 439.493 | 404.7087 | 1170 | 130 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1786.6468 | 1739.493 | 1704.7087 | 535.5828 | 535.5828 | 535.5828 | 535.5828 | 535.5828 | 535.5828 | 736.0748 | 716.6481 | 702.3174 | 3140.4023 | 1293.8042
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 569.493 | 534.7087 | 51.9983 | 51.9983 | 51.9983 | 51.9983 | 51.9983 | 51.9983 | 51.9983 | 227.7899 | 213.8766 | 3124.7003 | 1249.8399
32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 569.493 | 534.7087 | 50.4838 | 50.4838 | 50.4838 | 50.4838 | 50.4838 | 50.4838 | 50.4838 | 221.1552 | 207.6472 | 3109.0768 | 1207.3697
33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 569.493 | 534.7087 | 49.0134 | 49.0134 | 49.0134 | 49.0134 | 49.0134 | 49.0134 | 49.0134 | 214.7138 | 201.5992 | 3093.5314 | 1166.3425
34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 569.493 | 534.7087 | 47.5858 | 47.5858 | 47.5858 | 47.5858 | 47.5858 | 47.5858 | 47.5858 | 208.46 | 195.7274 | 3078.0637 | 1126.7095
35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 439.493 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 569.493 | 534.7087 | 46.1998 | 46.1998 | 46.1998 | 46.1998 | 46.1998 | 46.1998 | 46.1998 | 202.3883 | 190.0266 | 3062.6734 | 1088.4233
36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 534.7087 | 44.8542 | 44.8542 | 44.8542 | 44.8542 | 44.8542 | 44.8542 | 44.8542 | 44.8542 | 184.4918 | 3047.3601 | 1051.438
37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 534.7087 | 43.5478 | 43.5478 | 43.5478 | 43.5478 | 43.5478 | 43.5478 | 43.5478 | 43.5478 | 179.1183 | 3032.1233 | 1015.7096
38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 534.7087 | 42.2794 | 42.2794 | 42.2794 | 42.2794 | 42.2794 | 42.2794 | 42.2794 | 42.2794 | 173.9013 | 3016.9626 | 981.1952
39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.7087 | 0 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 534.7087 | 41.048 | 41.048 | 41.048 | 41.048 | 41.048 | 41.048 | 41.048 | 41.048 | 168.8362 | 3001.8778 | 947.8536
40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 404.7087 | 1170 | 130 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1704.7087 | 398.5239 | 398.5239 | 398.5239 | 398.5239 | 398.5239 | 398.5239 | 398.5239 | 398.5239 | 522.5901 | 2986.8684 | 915.645

## 6. Assumptions & Sources
ECM032 - Solar PV LCOE |  |  | Please review disclaimer on the home tab | Last modified at source: | 2013-01-29
Assumptions & References
Note that portions of this workbook may be password protected to prevent accidental edits. If you do need to modify the document, use the password "greenit".
Note | Amount | Description
1 |  | This calculator is based on a simple LCOE Calculation, the theory of which is found in the following paper: K. Branker, M. J.M. Pathak, J. M. Pearce, “A Review of Solar Photovoltaic Levelized Cost of Electricity”, Renewable & Sustainable Energy Reviews 15, pp.4470-4482 (2011).
Open-access link: http://hdl.handle.net/1974/6879
DOI: http://dx.doi.org/10.1016/j.rser.2011.07.104
Please consult the paper for the assumptions within. A more comprehensive method can be considered using the Solar Advisor Model (SAM) from NREL;
https://www.nrel.gov/analysis/sam/
2 |  | The average number of 'sun hours' your location receives annually is used to calculate the energy output of the rated solar PV system. This value can be determined from one of the following sources;
(1) For Canadian installations use http://solarrooftops.ca/sun-hour-facts.php, and
(2) for American installations use http://www.solarpanelsplus.com/solar-insolation-levels/.
Note that data from these and similar sources is typically expressed as kWh/m2/day, which translates to the amount of energy striking panels at your location on the earth per day. It is also important to note that 'sun hours' do not equal 'sunlight hours'; solar panels will continue to generate electricity on a cloudy day for example, but the generated quantity is much lower than a sunny day. The value of 'sun hours' accounts for these values.
3 | 10 | The inverter replacement period is considered the performance or replacement warranty. As a 'worst-case' scenario, the cost of the invertor is applied as a maintenance cost in this calculator at the end of it's warrantied life; that is every 10 years. Note that invertor warranties are improving, with some manufacturers offering as long as 25 year warranties (http://www.renewableenergyworld.com/rea/news/article/2011/06/enphase-energy-launches-third-gen-microinverters-with-25-year-warranty). When considering these invertors with longer terms, be sure to account for the increased cost accompanying them.
4 | 30 | The PV system warranty is considered the PV "life" for the purpose of the LCOE Calculation. This value is not used in calculation, but the user should be mindful when estimating long-term performance.
5 | 0.5% | There is an expected degredation of efficiency in PV systems in to normal operation. This value is typically between 0.2%/year and 1%/ year.
6 |  | This is the rated annual energy output without degradation.
7 |  | The 'total installed cost' includes all the costs required to design, buy and install the system, before considering financing. The 'cost per watt' is simply the total installed cost divided by the rated system size. Some quotations may give both values, one or the other. Both are valid metrics that can be used to compare two quotes or systems.
8 | 1% | The insurance cost is based on market research with a default value of 1% is included. This value should be updated based on the details of your particular installation.
9 | 9% | The inverter cost is based on market research with a defauly value of 9% included. This value should be verified for your particular installation. Invertor cost is relatively consistent but different features may be required based on your installation (i.e. climate-appropriate provisions).
10 |  | The concept of discount rate puts a value on time preference on money, which varies by circumstance, location, and the time period considered. Values used in the literature range from 0 to 10 %.
11 |  | The annual loan payment considers the loan term, interest rate, principal amount and down payment as specified. The excel formula PMT() is used assuming constant interest rate and constant payment amounts over the loan term.
12 | 13 | Calculations are completed over a 40-year term, so the only two stipulations on loan term duration are: (1) the loan term specified must be a whole-number of years that is (2) less than 40 years. The user may specify any value within these limitations.