## English
To use, enter watts and hours use for loads to be used in system. Once calculations are made for minimum panel watts, add watts and voltage of panels purchased. | [8 empty] | Assumptions
Also, battery information, percent discharge, days of autonomy and insolation for location of solar energy system should be added under Needed Information | [8 empty] | Efficiency loss converting AC- DC | 0.9
[9 empty] | Efficiency Balance of Systems | 0.8
Loads/ Items to be used through your solar system and hours of use per day | [8 empty] | Efficiency of Wires | 0.98
Item/Load | Quantity | Amps | Volts | Watts in AC | Total Watts in AC | Total Watts in DC | Hours use per day | Watt-Hours | Efficiency of Batteries | 0.9
|  |  |  | 0 | 0 | 0 |  | 0 | Charge Controller Safety | 1.25
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0 | Needed Information
|  |  |  | 0 | 0 | 0 |  | 0 | Power of Panel Purchased
|  |  |  | 0 | 0 | 0 |  | 0 | Volts of Panel Purchased
|  |  |  | 0 | 0 | 0 |  | 0 | Amp-Hours of Battery
|  |  |  | 0 | 0 | 0 |  | 0 | Volts of Battery
|  |  |  | 0 | 0 | 0 |  | 0 | Percent Discharge
|  |  |  | 0 | 0 | 0 |  | 0 | Days of Autonomy
|  |  |  | 0 | 0 | 0 |  | 0 | Insolation (Hours of Full Sun)
Panel Information
Watts needed to Run All Loads |  |  |  | 0
Total Energy Needs for System per Day |  |  |  | 0
Watts Needed by Panel for Energy Needs |  |  |  | #DIV/0!
Panels Needed in Parallel |  |  |  | #DIV/0!
Number of Panels Needed |  |  |  | #DIV/0!
Minimum Necessary Panel Size (In Watts) |  |  |  | #DIV/0!
Battery Information
Amp-hours Needed for Solar System |  |  |  | #DIV/0!
Batteries Needed in Series |  |  |  | #DIV/0!
Batteries Needed in Parallel |  |  |  | #DIV/0!
Number of Batteries Needed |  |  |  | #DIV/0!
Charge Controller Information
Charge Controller Amps |  |  |  | #DIV/0!
Invertor Information
Volts Needed for Invertor |  |  |  | 0
Note on K6: Your charge controller should handle extra amperage for safety reasons.
Note on K19: Batteries can be discharged to 80%, it's recommended they be discharged to 50%
Note on K20: Days of Autonomy are the number of days your system might go without sunlight
Note on K21: Insolation depends on the location of your system, and can be found online.

## Example
To use, enter watts and hours use for loads to be used in system. Once calculations are made for minimum panel watts, add watts and voltage of panels purchased. | [8 empty] | Assumptions
Also, battery information, percent discharge, days of autonomy and insolation for location of solar energy system should be added under Needed Information | [8 empty] | Efficiency loss converting AC- DC | 0.9
[9 empty] | Efficiency Balance of Systems | 0.8
[9 empty] | Efficiency of Wires | 0.98
Item/Load | Quantity | Amps | Volts | Watts in AC | Total Watts in AC | Total Watts in DC | Hours use per day | Watt-Hours | Efficiency of Batteries | 0.9
LED Light | 2 |  |  | 15 | 30 | 33.3333 | 5 | 166.6667 | Charge Controller Safety | 1.25
Fan | 1 |  |  | 55 | 55 | 61.1111 | 8 | 488.8889
TV | 1 |  |  | 60 | 60 | 66.6667 | 3 | 200
Cellphone Charger | 2 | 0.7 | 5.5 | 3.85 | 7.7 | 8.5556 | 8 | 68.4444
Radio | 1 |  |  | 30 | 30 | 33.3333 | 2 | 66.6667
Playstation | 1 |  |  | 75 | 75 | 83.3333 | 3 | 250
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0 | Needed Information
|  |  |  | 0 | 0 | 0 |  | 0 | Power of Panel Purchased | 150
|  |  |  | 0 | 0 | 0 |  | 0 | Volts of Panel Purchased | 12
|  |  |  | 0 | 0 | 0 |  | 0 | Amp-Hours of Battery | 100
|  |  |  | 0 | 0 | 0 |  | 0 | Volts of Battery | 6
|  |  |  | 0 | 0 | 0 |  | 0 | Percent Discharge | 70
|  |  |  | 0 | 0 | 0 |  | 0 | Days of Autonomy | 1
|  |  |  | 0 | 0 | 0 |  | 0 | Insolation (Hours of Full Sun) | 6.5
Panel Information | [5 empty] | *All orange highlighted boxes are inputted information
Watts needed to Run All Loads |  |  |  | 286.3333
Total Energy Needs for System per Day |  |  |  | 1240.6667
Watts Needed by Panel for Energy Needs |  |  |  | 238.5897
Panels Needed in Parallel |  |  |  | 2
Number of Panels Needed |  |  |  | 2
Minimum Necessary Panel Size (In Watts) |  |  |  | 286.3333
Battery Information
Amp-hours Needed for Solar System |  |  |  | 117.221
Batteries Needed in Series |  |  |  | 2
Batteries Needed in Parallel |  |  |  | 2
Number of Batteries Needed |  |  |  | 4
Charge Controller Information
Charge Controller Amps |  |  |  | 15.625
Invertor Information
Volts Needed for Invertor |  |  |  | 12

## Espanol
Para utilizar , introduzca vatios y horas de uso para las cargas que se utilizarán en el sistema . Una vez que los cálculos se hacen para vatios de paneles mínimos , agregue vatios y la tensión de los paneles comprados. | [8 empty] | Supuestos
Además, la información de la batería , la descarga por ciento , días de autonomía y la insolación de ubicación de sistema de energía solar debe añadirse bajo Informacion Necesaria | [8 empty] | Eficiencia de la conversion AC- DC | 0.9
[9 empty] | Balance de la Eficiencia del sistemas | 0.8
Loads/ Items to be used through your solar system and hours of use per day | [8 empty] | Efficiencia de Alambres | 0.98
Articulo/carga | Cantidad | Amperios | Voltios | Watts en AC | Watts Totales en AC | Watts totales en DC | Horas de uso por dia | Watt-Horas | Eficiencia de los Baterias | 0.9
|  |  |  | 0 | 0 | 0 |  | 0 | Seguridad del controlador de carga | 1.25
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0
|  |  |  | 0 | 0 | 0 |  | 0 | Informacion Necesaria
|  |  |  | 0 | 0 | 0 |  | 0 | Poder del Panel Compradas
|  |  |  | 0 | 0 | 0 |  | 0 | Voltios de Panel Comprado
|  |  |  | 0 | 0 | 0 |  | 0 | Amperio-Horas de Bateria
|  |  |  | 0 | 0 | 0 |  | 0 | Voltios de Bateria
|  |  |  | 0 | 0 | 0 |  | 0 | Descarga Ciento
|  |  |  | 0 | 0 | 0 |  | 0 | Dias de Autonomia
|  |  |  | 0 | 0 | 0 |  | 0 | Insolacion ( Horas de pleno sol)
Informacion de los Paneles Solares
Watts Necesarios Para Ejecutar TodasLlas Cargas |  |  |  | 0
Necesidad Energia Total Para El Sistema por Dia |  |  |  | 0
Watts Necesaria por el Panel para las Necesidades Energeticas |  |  |  | #DIV/0!
Paneles necesites en Paralelo |  |  |  | #DIV/0!
Numero de Paneles Necesites |  |  |  | #DIV/0!
Tamano del Panel Necesaria Minima (En Watts) |  |  |  | #DIV/0!
informacion de los Baterias
Amperio-hora necesario para el sistema de solar |  |  |  | #DIV/0!
Batería necesites en serie |  |  |  | #DIV/0!
Baterías necesites en paralelo |  |  |  | #DIV/0!
Mumero de Baterias Necesario |  |  |  | #DIV/0!
Informacion de Controlador de Carga
Amperios del Controlador de Carga |  |  |  | #DIV/0!
Informacion del inversor
Voltios Necesaria Para Inversor |  |  |  | 0
Note on K6: Tu controlador de carga podria guantar mas amperios por razones de seguridad.
Note on K19: Baterias pueden descargar hasta 80%, perso es recomendado que pueden descargar hasta 50%.
Note on K20: Los Dias de Autonomia son numbero de dias que el systema probabalmente se va sin luz del sol.
Note on K21: El insolacion depende con el sitio de tu systema, y puede encontralo por internet.